## Slide 1: North American EMT Modeling Challenges and Opportunities
Aung Thant
Principal Engineer
March 10, 2026
EMT Webinar Series

## Slide 2: NERC-Industry Collaboration
NERC EMTWG
EMT Modeling Working Group
Best Practices
Guidelines
ORNL-DOE-NERC- Industry
Efficiency
Accuracy
Expertise
Outreach
Long-term
Medium
Short

## Slide 3: NERC EMT Modeling Working Group (EMTWG)
Support industry adoption of EMT Modeling
Repository of resources – reading list, tutorials, technical presentations
Recent work:
  White Paper: EMT Modeling Adoption for Interconnection and Planning Studies – Industry Survey
  White Paper: EMT Analysis in Operations
On-going work:
  Benchmarking IBR Aggregate Plant Models
  Uniform IBR Plant Model and Testing
  Model portability and interoperability
  EMT Modeling Consideration to Study Large Load Impact on BPS Reliability

## Slide 4: Reliability Guidelines on EMT Modeling

## Slide 5: Staged Approach to EMT Modeling Adoption
Establishing EMT Model Requirements
EMT Model Quality Verification
Plant Performance Assessment & Model Benchmarking
Screening and Integration in Interconnection Process
Conducting Interconnection and Planning Studies
Stage 1
Stage 2
Stage 3
Stage 4
Stage 5
1st Guideline Scope
2nd Guideline Scope

## Slide 6: Draft Large Load Reliability Guideline
Screening Criteria for EMT study
Large Load Dynamic Models
Model verification report requirements
Model quality requirements
Post-event data sharing and model validation
Model update process

## Slide 7: EMT Adoption Survey Summary
Challenges
Expertise and Resource Constraints
Near-term Action
Broaden Training and Resources
Long-term Action
Optimize Compatibility Standards
Complexity of Models and Large System Studies
Keeping up with Technological Changes
Model Data Sharing
Standardization of EMT Modeling Practices
Investment in Simulation Tools and Infrastructure
Early Model Verification and Coordination
Adaptability
Leverage High-Performance Computing (HPC) Solutions
Advance Automation and Interoperability
Improve Data Sharing

## Slide 8: Progress
2023
2024
2025
2026
1st EMT Workshop
NERC EMTWG EMT Adoption Survey
2nd EMT Workshop
3rd EMT Workshop
EMT Activities
4th EMT Workshop

## Slide 9: Effective and Efficient EMT Modeling Framework
scalability
interoperability
flexibility
efficiency
enterprise-ready